## UTILITY REQUEST
ATLANTA AIRLINES TERMINAL CORPORATION SERVICE REQUEST FORM
ALL SHUTDOWNS REQUIRE 5-Day NOTIFICATION-WEEKENDS NOT INCLUDED
COMPLETED FORMS MUST BE EMAILED TO SHUTDOWNS@AATC.ORG
SERVICE REQUEST QUESTIONS CALL: (404) 530-2144
Today's Date: | [5 empty] | AATC WORK ORDER #:
PLEASE COMPLETE ALL BOXES BELOW; INCOMPLETE INFORMATION WILL DELAY DATE SELECTION AND APPROVAL TIME
PROJECT INFORMATION (REQUIRED):
Project Name: |  |  |  |  | Project #: (P&D or WBS)
Project Sponsor: |  |  |  |  | COA Permit #:
By submitting this form, the submitter certifies that all of the below information is complete and accurate, in its entirety, to the best of their knowledge and ability. AATC is not responsible for the verification of the accuracy of the information provided below.
CONTRACTOR CONTACT AND LOCATION INFORMATION:
GC Project Manager: |  |  |  |  | Concourse:
GC PM Contact #: |  |  |  |  | Gate and Level:
General Contractor: |  |  |  |  | Subcontractor:
Office #: |  |  |  |  | Office #:
GC email address: |  |  |  |  | Sub email address:
On-site contact: |  |  |  |  | On-site contact:
On-site contact cell #: |  |  |  |  | On-site contact cell #:
SCHEDULING: TYPICAL UTILITY NOTIFICATIONS ARE BETWEEN 2300 AND 0500 SUNDAY NIGHT THROUGH FRIDAY MORNING
Start/End Date(s): |  |  |  | to
Start/End Time(s): |  |  |  | to
TYPE OF UTILITY SERVICE REQUEST: SEE EXHIBIT A FOR REQUIREMENTS
SWITCHGEAR ROOM ACCESS |  |  | FIRE ALARM DEVICE / SYSTEM |  | General Contractor coordinated with AFA Fire Protection prior to submitting
ELECTRICAL SHUTDOWN |  |  | FIRE ALARM TESTING |  | General Contractor coordinated with AFA Fire Protection prior to submitting
ELECTRICAL ACTIVATION |  |  | CEILING ACCESS |  | General Contractor coordinated with DOA-DIT & Tenant prior to submitting
ELEC METER READING |  |  | LANE CLOSURE |  | Only one drive lane will be blocked at a time; starting at midnight until 4:00 am.
MECHANICAL SHUTDOWN |  |  | SPRINKLER SHUTDOWN |  | Indicate system(s) information below (only 3 systems per night) (10 day notice is recommended) (COMPLETE SPRINKLER SECTION BELOW)
WATER SHUTDOWN |  |  | WALL / FLOOR PENETRATION |  | Contractor will have a person monitoring space below (NOTE WHO IS BELOW THE SPACE):
ESCALATOR SHUTDOWN |  |  | HOT WORK PERMIT |  | AFD CERTIFICATION EXPIRATION DATE:
ELEVATOR SHUTDOWN |  |  | FLOOD TEST |  | Contractor will have a person monitoring space below (NOTE WHO IS BELOW THE SPACE):
ROOM ACCES/ESCORT (NON-BADGED ONLY) |  |  | GAS SHUTDOWN |  | General Contractor coordinated with DOA Facilities prior to submitting
RESTROOM SHUTDOWN |  |  | CHILLERS |  | Identify Chiller(s) below.
SPRINKLER IDENTIFICATION (ONLY 3 SYSTEMS PER NIGHT) (10 day notice is recommended) :
SYSTEM | VALVE TAG# |  | VALVE LOCATION (ROOM # or DOOR #) |  | AFFECTED AREA(s) |  | FP TAG #
DESCRIPTION OF WORK :
SERVICES AFFECTED (LIST SPACE, EQUIPMENT, AND IF ELECTRICAL-PROVIDE ROOM NUMBER(S)):
AS THE GENERAL CONTRACTOR I UNDERSTAND THE FOLLOWING:
1. By typing your name on this document it is acknowledgment of reviewing and adhering to the AATC Construction Guidelines Document 10-2015
2. The name and title of the General Contractor's Authorizing Agent is required to process this form. Submittals from a Subcontractor or Office
Administration will NOT be accepted.
3. AATC will email a confirmation. Work cannot begin without a written notification or confirmation from an AATC authorized agent.
4. Utility requests that require AATC maintenance assistance will be charged at the actual hours spent and the current labor rate plus a 20% overhead fee.
5. Services are conducted Sunday - Thursday night 11 pm - 5 am; Daytime hours or weekends are not allowed without AATC management approval.
6. A ‘NO SHOW’ fee of $200.00 is applicable if a cancellation is made less than 12 hours prior to the scheduled service.
7. AATC assumes no liability for work performed by contractor. Contractor assumes all liability for any repairs, disruptions, loss of service, etc.
associated with work performed.
8. Alterations or additions made to any sprinkler systems will need to be recertified. Please provide recertification documents to AATC.
9. The GC/Project Manager is responsible for the coordination of this notice of the effected stakeholders as a result of this utility service request.
Submission of this utility service request does not serve in lieu of the coordination efforts of the GC/Project Manager.
10. Prior to any service, an AATC Duty Manager must be notified at (404) 530-2112.
REVIEWED
GC Authorizing Agent (Type Name) |  | Title
Contact Number |  | Email

## EXHIBIT A
ATLANTA AIRLINES TERMINAL CORPORATION EXHIBIT A
IF SUBMITTED ON…. |  | THE EARLIEST SCHEDULED DATE IS….
SATURDAY-MONDAY 4PM |  | THURSDAY PM/FRIDAY AM
TUESDAY 4PM |  | SUNDAY PM/MONDAY AM
WEDNESDAY 4PM |  | MONDAY PM/TUESDAY AM
THURSDAY 4PM |  | TUESDAY PM/WEDNESDAY AM
FRIDAY 4PM |  | WEDNESDAY PM/THURSDAY AM
IN ADDITION TO THE UTILITY SERVICE REQUEST, THE FOLLOWING IS REQUIRED FOR APPROVAL.
1 | SWITCHGEAR ROOM ACCESS | Provide (a) Switchgear equipment number (b) room number of equipment.
2 | ELECTRICAL SHUTDOWN | Provide (a) identification of panel(s) serviced (b) name of area(s)/location(s) affected (c ) room number for panels (d) completed panel schedule (on third tab below)
3 | ELECTRICAL ACTIVATION | Provide (a) identification of panel(s) serviced (b) name of area(s)/location(s) affected (c ) room number for panels (d) completed panel schedule (on third tab below)(e) identification if By AATC or By Contractor
4 | ELECTRICAL METER READING | Provide final meter reading or install date of new meter
5 | MECHANICAL SHUTDOWN | Provide (a) Mechanical equipment number (b) room number of equipment (c) name of area(s)/location(s) affected
6 | WATER SHUTDOWN | Provide (a) Location of equipment (b) condition of equipment (c) valve number (d) isolation boundaries (e) name of area(s)/location(s) affected
7 | DRY/WET SPRINKLERS No Wednesday nights | Provide (a) sprinkler company as subcontractor (b) identify wet or dry system (c) list column lines of area(s)/location(s) affected (d) provide State Certification number (e) a drawing w/ location of demo-ed, new, and/or relocated sprinkler heads showing column lines. BE ADVISED ONLY 9 SYSTEMS CAN BE SHUTDOWN PER NIGHT FOR ENTIRE AIRPORT AND ARE BY A FIRST COME/FIRST SERVE BASIS.
8 | FIRE ALARM DEVICE | Provide (a) type of device (b) node information (c) coordination with AFA (d) AFA contact info on request (e) name of area(s)/location(s) affected
9 | FIRE ALARM SYSTEM | Provide (a) node information (b) coordination with AFA (c) AFA contact info on request (d) name of area(s)/location(s) affected
10 | FIRE ALARM TEST | Provide (a) coordination with Fire Alarm inspector (b) coordination with AFA (c) AFA contact info on request-daytime hours are acceptable
11 | ESCALATOR | Provide (a) escalator ID number (b) Escalators will only be turned on and off by KONE (c) Escalators will be protected at all times that overhead work is being performed (d) Escalators will be off only when actual work is being performed above them (e) Flagmen will be in place to provide signage and redirect traffic during this shutdown. Contractors will need a separate contract with KONE {Tel (770) 864-6351 Fax 770-424-4570 www.kone.com jenifer.johnson@kone.com}
12 | ELEVATOR | Provide (a) elevator ID number (b) Elevators will only be turned on and off by KONE (c) Flagmen will be in place to provide signage and redirect traffic during this shutdown. Contractors will need a separate contract with KONE {Tel (770) 864-6351 Fax 770-424-4570 www.kone.com jenifer.johnson@kone.com}
13 | LANE CLOSURE | Provide (a) Inbound or Outbound lane and (b) Direction - North / South / East / West (c) Starting at midnight until 4:00 am (d) Flagmen will be place to provide signage and redirect traffic during this shutdown.
14 | HOT WORK | Includes Welding, Brazing, Saw Cutting. Provide a current copy of hot work permit for the SUBCONTRACTOR from Atlanta Airport Fire Department. Yellow tag(s) must be issued from AATC Engineering prior to work in the area. Hot work tag (s) are only provided for one week at a time. Hot work permits must be purchased from the Atlanta Airport Fire Department located at 720 Doug Davis Drive, Hapeville, GA 30354. Hot Work Permits MUST be picked up PRIOR to the start of hot work and MUST be signed and turned back in at time of completion.
15 | WALL PENETRAION | Provide (a) Ultrasound company info on request (b) Ultrasound results (scans) (c) Drawing, sketch and/or photos identifying the area(s) (d) quantity and depth of core in inches (e) Contractor must have a person in space below monitoring while work is being conducted. It the responsibility of the General Contractor to review and verify that there are no obstructions in the affected area. Any obstruction found must be noted on the coring request at the time of the submittal and any obstructions found will have to be approved by DOA P&D for APPROVAL. When space/holes are not being used immediately, holes need to be capped. When space/holes are used and done, holes need to be caulked/sealed with proper sealant.
16 | FLOOR PENETRATION | Provide (a) Ultrasound company info on request (b) Ultrasound results (scans) (c) Please indicate is clear without obstruction(s) (d) Drawing, sketch and/or photos identifying the area(s) (e) quantity and depth of core in inches (f) Contractor must have a person in space below monitoring while work is being conducted. It the responsibility of the General Contractor to review and verify that there are no obstructions in the affected area. Any obstruction found must be noted on the coring request at the time of the submittal and any obstructions found will have to be approved by DOA P&D for APPROVAL.When space/holes are not being used immediately, holes need to be capped. When space/holes are used and done, holes need to be caulked/sealed with proper sealant.
17 | FLOOD TEST | When instaling a floor drain provide (a) Name of space below tested area (b) The space must be monitored 24 hours prior to and after the test (c) The General Contractor is responsible for all costs associated with leaks and will be billed accordingly for any damage (d) Contractor must contact occupants in space below prior to and after performing flood test (e) Contractor must have a person in space below monitoring while work is being conducted.
18 | CEILING ACCESS | All Ceiling Access Requests will need to be coordinated with DOA DIT Department prior to AATC’s approval. You may contact them via email nocoperators@atlanta-airport.com or at 404-209-5550. Once cleared with DOA DIT, please forward email from them to proceed. For the Main Terminal Access - Verification of AATC training on the ceiling system.
19 | GAS SHUTDOWN | Provide (a) Location of equipment (b) condition of equipment (c) valve number (d) isolation boundaries (e) name of area(s)/location(s) affected
20 | ROOM ACCESS/ESCORT | Non-badged personnel ONLY. Excluding Customs (CBP) and Immigration. Limit to only 3 times. No work to be done;investigative purposes only.

## Panel Schedule
Fed from |  |  |  | RM#-
PANEL -
VOLTAGE & PHASE: | [5 empty] | AMPERAGE:
MOUNTING: | [5 empty] | MCB OR MLO:
DATE: | [5 empty] | AIC RATING:
DESCRIPTION | BKR | PHASE |  |  | BRK | DESCRIPTION
|  | 1 | A | 2
|  | 3 | B | 4
|  | 5 | C | 6
|  | 7 | A | 8
|  | 9 | B | 10
|  | 11 | C | 12
|  | 13 | A | 14
|  | 15 | B | 16
|  | 17 | C | 18
|  | 19 | A | 20
|  | 21 | B | 22
|  | 23 | C | 24
|  | 25 | A | 26
|  | 27 | B | 28
|  | 29 | C | 30
|  | 31 | A | 32
|  | 33 | B | 34
|  | 35 | C | 36
|  | 37 | A | 38
|  | 39 | B | 40
|  | 41 | C | 42